An Explainable Machine Learning Clinical Decision Support System with Clinical Regularization and Youden-Thresholding for Bedside ICU Mortality Prediction

S. Kaviya Shree (24BVD1088), D. Tarunika (24BLC1336), Kavya Raja . G (24BVD1099)
School of Electronics Engineering, Vellore Institute of Technology (VIT), Chennai, Tamil Nadu, India
Email: {kaviyashree.s2024, tarunika.d2024, kavyaraja.g2024}@vitstudent.ac.in

Abstract—The ability to predict reliably if ICU patients are likely to deteriorate is critical in order to improve treatment outcomes. Unfortunately, existing alarm systems have a lot of false positives causing alert fatigue in clinicians. In our paper, we describe the development and implementation of a real-time Clinical Decision Support System (CDSS) for prediction of in-hospital mortality using physiological measurements collected within the first 24 hours after ICU admission. Using the MIMIC-IV Clinical Demo dataset (100 patients, 140 ICU stays), we built a robust preprocessing pipeline featuring outlier filtering, conversion of temperature units to Celsius, and multimodal statistical aggregation (min, max, mean, standard deviation, latest measurement, and trend) over clinically validated biomarkers. We assessed seven machine learning algorithms and two ensembles under Stratified 5-Fold Cross-Validation. Due to severe class imbalance (10.72% mortality) and default threshold failures, we performed out-of-fold Youden's J threshold optimization sweeps. The best-performing predictor proved to be L2-regularized Logistic Regression, achieving an optimal decision threshold of 0.49 and hold-out performance of 0.8500 (Accuracy), 0.8889 (Specificity), 0.5000 (Sensitivity/Recall), 0.4000 (F1-Score), and 0.2193 (PR-AUC) for mortality prediction. Our system provides point-of-care transparency via a Game-theoretic SHAP Explainability Engine that translates risk scores into natural language explanations of biophysical predictors like Heart Rate, Potassium, BUN, and Systolic BP.

Keywords—Explainable Artificial Intelligence (XAI), Clinical Decision Support Systems (CDSS), Logistic Regression, Youden's J Statistic, SHAP Swarm Density, ICU Mortality Prediction, MIMIC-IV Clinical Demo.

I. INTRODUCTION

In critical care settings, continuous monitoring and rapid clinical interventions are required due to the high acuity of ICU patients' conditions. Critical care providers must process large amounts of heterogeneous data from bedside monitors, ventilators, and laboratory tests. Management of this information frequently results in cognitive overload and alarm fatigue, which can desensitize clinicians to frequent alarms and lead to neglected warnings about patient deterioration.

Machine learning models and CDSS offer scalable support in patient monitoring by discovering physiological patterns in Electronic Health Records (EHRs). Automated detection of physiological deterioration faces three major challenges: (1) Complementary Inductive Bias: Linear models generalize better on small clinical samples, whereas high-capacity ensembles are prone to severe overfitting. (2) Unstable Inference: Static single observations are vulnerable to noise and missing labs. (3) Overfitting in Imbalanced Data: In our dataset, the overall ICU mortality rate is only 10.72% (15 out of 140 ICU stays).

II. RELATED WORK

Traditional ICU scoring systems like SAPS II and APACHE evaluate static scores 24 hours post-admission. However, scoring models cannot factor in continuous dynamic trajectories. Machine learning models applied to EHR datasets provide superior predictive capacity, but black-box models lack interpretability. Game-theoretic Explainable AI (SHAP) resolves this by decomposing predictions into clear biophysical risk factors at the bedside.

III. DATASET AND CLASS DISTRIBUTION

Experiments utilized the publicly available MIMIC-IV Clinical Demo Dataset (v2.2), comprising EHR records of 100 unique patients across 140 Intensive Care Unit admissions. The outcome target is hospital_expire_flag (0 = Survived, 1 = Deceased). Data was split into 80% training (112 stays) and 20% holdout testing (28 stays) using Stratified Shuffle Split.

Table I: Target Categories — Class 0: Survived (Control), Class 1: Deceased (Target). Table II: Data Distribution — Survived: 125 stays (89.28% total; 100 train, 25 test). Deceased: 15 stays (10.72% total; 12 train, 3 test). Total: 140 stays (100% total; 112 train, 28 test).

IV. METHODOLOGY

The proposed CDSS architecture integrates three decoupled layers: (1) Data Acquisition & Preprocessing Layer: Cleans 668,862 telemetry vitals and 107,727 lab records, converts temperature to Celsius (C = (F - 32) * 5/9), scrubs sensor outliers (HR outside [30, 220] bpm, Temp outside [32, 45] C), and imputes missing labs with clinical baselines. (2) Clinical Intelligence Layer: Slices data strictly to the first 24h of ICU stay (t <= intime + 24h), extracts 6 statistical aggregations, and trains regularized classifiers. (3) Decision Support Layer: Renders real-time risk scores, SHAP explanations, and bedside PDF charts.

V. EXPERIMENTS AND RESULTS

Model evaluation was performed across 7 baseline classifiers and 2 ensembles using Stratified 5-Fold Cross-Validation and fold-wise Youden's J threshold optimization (J = Sensitivity + Specificity - 1).

Holdout Test Evaluation Summary (at Youden-Optimal Thresholds):

1. Logistic Regression (Champion): Opt Thresh = 0.49 | ROC-AUC = 0.4722 | PR-AUC = 0.2193 | Recall = 0.5000 | Specificity = 0.8889 | F1-Score = 0.4000 | Accuracy = 0.8500.

2. CatBoost: Opt Thresh = 0.44 | ROC-AUC = 0.4167 | PR-AUC = 0.1526 | Recall = 0.5000 | Specificity = 0.7222 | F1-Score = 0.2500 | Accuracy = 0.7000.

3. LightGBM: Opt Thresh = 0.37 | ROC-AUC = 0.4167 | PR-AUC = 0.1389 | Recall = 0.5000 | Specificity = 0.6111 | F1-Score = 0.2000 | Accuracy = 0.6000.

4. Stacking Ensemble: Opt Thresh = 0.13 | ROC-AUC = 0.5000 | PR-AUC = 0.2222 | Recall = 0.0000 | Specificity = 0.8889 | F1-Score = 0.0000 | Accuracy = 0.8000.

5. ExtraTrees: Opt Thresh = 0.45 | ROC-AUC = 0.4444 | PR-AUC = 0.1292 | Recall = 0.0000 | Specificity = 0.7778 | F1-Score = 0.0000 | Accuracy = 0.7000.

VI. DISCUSSION AND CONCLUSION

On small clinical cohorts like MIMIC-IV Demo (n=140 stays), high-capacity ensemble models suffer from severe overfitting in high-dimensional feature spaces. L2-regularized Logistic Regression proved superior in generalization, achieving 0.8500 accuracy and 0.8889 specificity while retaining a 50.0% sensitivity for catching high-risk mortality cases. Integrating SHAP explainability inside the Streamlit CDSS provides clinicians with trusted, transparent biophysical risk drivers at the point of care.

REFERENCES

[1] A. L. Goldberger et al., "PhysioBank, PhysioToolkit, and PhysioNet: Components of a new research resource for complex physiologic signals," Circulation, vol. 101, no. 23, pp. e215-e220, 2000.

[2] S. M. Lundberg and S.-I. Lee, "A unified approach to interpreting model predictions," in Advances in Neural Information Processing Systems (NeurIPS), 2017, pp. 4765-4774.

[3] A. E. W. Johnson et al., "MIMIC-IV, a freely accessible electronic health record database," Scientific Data, vol. 10, no. 1, p. 1, 2023.

[4] W. J. Youden, "Index for rating diagnostic tests," Cancer, vol. 3, no. 1, pp. 32-35, 1950.

[5] J. R. Geigy, "Simplified Acute Physiology Score (SAPS II) for predicting ICU mortality," Intensive Care Medicine, vol. 19, no. 8, pp. 437-448, 1993.